## Exist_Raw
| 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Existing Transmission infrastructure
Forward | Reverse | Country 1 | Country 2 | Line Voltage | Line Capacity | Loss Coefficient | Forced Outage Rate
|  |  |  | kV | MW | % | %
ELEXBOrSAr | ELEXSArBOr | BOr | SAr | 400, 132, 132, 132 | 800 | 1.7% | 0.2% | ANr | Angola
ELEXBOrZIr | ELEXZIrBOr | BOr | ZIr | 400 | 650 | 2.5% | 1.2% | BOr | Botswana
ELEXLErSAr | ELEXSArLEr | LEr | SAr | 132 | 230 | 0.6% | 1.9% | DRr | Democratic Republic of Congo
ELEXDRrZAr | ELEXZArDRr | DRr | ZAr | 220 | 260 | 5.6% | 0.9% | LEr | Lesotho
ELEXMOrSAr | ELEXSArMOr | MOr | SAr | 533, 400, 110, 275 | 3850 | 14% | 0.8% | MAr | Malawi
ELEXMOrSWr | ELEXSWrMOr | MOr | SWr | 400 | 1450 | 1.6% | 0.4% | MOr | Mozambique
ELEXMOrZIr | ELEXZIrMOr | MOr | ZIr | 330 | 500 | 3% | 0.9% | NAr | Namibia
ELEXNArSAr | ELEXSArNAr | NAr | SAr | 400, 220, 220 | 750 | 5% | 0.8% | SAr | South Africa
ELEXSArSWr | ELEXSWrSAr | SAr | SWr | 400, 132 | 1450 | 1.6% | 1% | SWr | Swaziland
ELEXSArZIr | ELEXZIrSAr | SAr | ZIr | 400 | 600 | 0.025% | 0% | TAr | Tanzania
ELEXZArZIr | ELEXZIrZAr | ZAr | ZIr | 330, 330 | 1400 | 0.012% | 0.2% | ZAr | Zambia
[8 empty] | ZIr | Zimbabwe
Updated using SAPP 2010 annual report in October 2011
|  | Country 1 | Country 2 | Line Voltage | Line Capacity | Loss Coefficient | Forced Outage Rate
|  |  |  | kV | MW | % | %
BOr | SAr | Botswana | South Africa | 400, 132, 132, 132 | 800 | 1.7% | 0.2%
BOr | ZIr | Botswana | Zimbabwe | 400 | 650 | 2.5% | 1.2%
LEr | SAr | Lesotho | South Africa | 132 | 230 | 0.6% | 1.9%
DRr | ZAr | Democratic Republic of Congo | Zambia | 220 | 260 | 5.6% | 0.9%
MOr | SAr | Mozambique | South Africa | 533, 400, 110, 275 | 3850 | 14% | 0.8%
MOr | SWr | Mozambique | Swaziland | 400 | 1450 | 1.6% | 0.4%
MOr | ZIr | Mozambique | Zimbabwe | 330 | 500 | 3% | 0.9%
NAr | SAr | Namibia | South Africa | 400, 220, 220 | 750 | 5% | 0.8%
SAr | SWr | South Africa | Swaziland | 400, 132 | 1450 | 1.6% | 1%
SAr | ZIr | South Africa | Zimbabwe | 400 | 600 | 0.025% | 0%
ZAr | ZIr | Zambia | Zimbabwe | 330, 330 | 1400 | 0.012% | 0.2%
Note on E4: Bruno: From the SAPP pool plan report
Note on F4: Bruno: Perdue Report
Note on G4: Bruno: Perdue report
Note on H4: Bruno: Perdue report
Note on F15: Bruno: This is not in the Perdue report but is estimated from the SAPP pool plan study data.

## MSG_Exist
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Existing Transmission | Main Input | Main Output | Name | Main Input | Main Output | operation time | Plant life | Historical Cap | bdc (up)
MESSAGE Name | Name | Name | alt | Value | Value | share | Years | MW | MW
ELEXBOrSAr | Electricity/Secondary/BOr | Electricity/Secondary/SAr | a | 1 | 0.983 | 0.998 | 50 | 2005 800 | 0
ELEXBOrZIr | Electricity/Secondary/BOr | Electricity/Secondary/ZIr | a | 1 | 0.975 | 0.988 | 50 | 2005 650 | 0
ELEXLErSAr | Electricity/Secondary/LEr | Electricity/Secondary/SAr | b | 1 | 0.994 | 0.981 | 50 | 2005 230 | 0
ELEXDRrZAr | Electricity/Secondary/DRr | Electricity/Secondary/ZAr | a | 1 | 0.944 | 0.991 | 50 | 2005 260 | 0
ELEXMOrSAr | Electricity/Secondary/MOr | Electricity/Secondary/SAr | c | 1 | 0.86 | 0.992 | 50 | 2005 3850 | 0
ELEXMOrSWr | Electricity/Secondary/MOr | Electricity/Secondary/SWr | a | 1 | 0.984 | 0.996 | 50 | 2005 1450 | 0
ELEXMOrZIr | Electricity/Secondary/MOr | Electricity/Secondary/ZIr | b | 1 | 0.97 | 0.991 | 50 | 2005 500 | 0
ELEXNArSAr | Electricity/Secondary/NAr | Electricity/Secondary/SAr | d | 1 | 0.95 | 0.992 | 50 | 2005 750 | 0
ELEXSArSWr | Electricity/Secondary/SAr | Electricity/Secondary/SWr | b | 1 | 0.984 | 0.99 | 50 | 2005 1450 | 0
ELEXSArZIr | Electricity/Secondary/SAr | Electricity/Secondary/ZIr | c | 1 | 0.99975 | 1 | 50 | 2005 600 | 0
ELEXZArZIr | Electricity/Secondary/ZAr | Electricity/Secondary/ZIr | d | 1 | 0.99988 | 0.998 | 50 | 2005 1400 | 0
Existing Trans (Reverse) | Main Input | Main Output | Name | Main Input | Main Output | operation time | Plant life | Historical Cap | bdc (up)
MESSAGE Name | Name | Name | alt | Value | Value | share | Years | MW | MW
ELEXSArBOr | Electricity/Secondary/SAr | Electricity/Secondary/BOr | a | 1 | 0.983 | 0.998 | 50 | 2005 800 | 0
ELEXZIrBOr | Electricity/Secondary/ZIr | Electricity/Secondary/BOr | b | 1 | 0.975 | 0.988 | 50 | 2005 650 | 0
ELEXSArLEr | Electricity/Secondary/SAr | Electricity/Secondary/LEr | a | 1 | 0.994 | 0.981 | 50 | 2005 230 | 0
ELEXZArDRr | Electricity/Secondary/ZAr | Electricity/Secondary/DRr | a | 1 | 0.944 | 0.991 | 50 | 2005 260 | 0
ELEXSArMOr | Electricity/Secondary/SAr | Electricity/Secondary/MOr | a | 1 | 0.86 | 0.992 | 50 | 2005 3850 | 0
ELEXSWrMOr | Electricity/Secondary/SWr | Electricity/Secondary/MOr | b | 1 | 0.984 | 0.996 | 50 | 2005 1450 | 0
ELEXZIrMOr | Electricity/Secondary/ZIr | Electricity/Secondary/MOr | c | 1 | 0.97 | 0.991 | 50 | 2005 500 | 0
ELEXSArNAr | Electricity/Secondary/SAr | Electricity/Secondary/NAr | a | 1 | 0.95 | 0.992 | 50 | 2005 750 | 0
ELEXSWrSAr | Electricity/Secondary/SWr | Electricity/Secondary/SAr | e | 1 | 0.984 | 0.99 | 50 | 2005 1450 | 0
ELEXZIrSAr | Electricity/Secondary/ZIr | Electricity/Secondary/SAr | f | 1 | 0.99975 | 1 | 50 | 2005 600 | 0
ELEXZIrZAr | Electricity/Secondary/ZIr | Electricity/Secondary/ZAr | g | 1 | 0.99988 | 0.998 | 50 | 2005 1400 | 0

## adb_exist
1 | *
| ELEXBOrSAr | a
|  | minp | e-B-BOr | 1
|  | moutp | e-H-SAr | c | 0.983
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 800
|  | optm | c | 0.998
|  | bdc | up | ts | 0
#
2 | *
| ELEXBOrZIr | a
|  | minp | e-B-BOr | 1
|  | moutp | e-L-ZIr | c | 0.975
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 650
|  | optm | c | 0.988
|  | bdc | up | ts | 0
#
3 | *
| ELEXLErSAr | b
|  | minp | e-D-LEr | 1
|  | moutp | e-H-SAr | c | 0.994
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 230
|  | optm | c | 0.981
|  | bdc | up | ts | 0
#
4 | *
| ELEXDRrZAr | a
|  | minp | e-C-DRr | 1
|  | moutp | e-K-ZAr | c | 0.944
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 260
|  | optm | c | 0.991
|  | bdc | up | ts | 0
#
5 | *
| ELEXMOrSAr | c
|  | minp | e-F-MOr | 1
|  | moutp | e-H-SAr | c | 0.86
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 3850
|  | optm | c | 0.992
|  | bdc | up | ts | 0
#
6 | *
| ELEXMOrSWr | a
|  | minp | e-F-MOr | 1
|  | moutp | e-I-SWr | c | 0.984
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 1450
|  | optm | c | 0.996
|  | bdc | up | ts | 0
#
7 | *
| ELEXMOrZIr | b
|  | minp | e-F-MOr | 1
|  | moutp | e-L-ZIr | c | 0.97
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 500
|  | optm | c | 0.991
|  | bdc | up | ts | 0
#
8 | *
| ELEXNArSAr | d
|  | minp | e-G-NAr | 1
|  | moutp | e-H-SAr | c | 0.95
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 750
|  | optm | c | 0.992
|  | bdc | up | ts | 0
#
9 | *
| ELEXSArSWr | b
|  | minp | e-H-SAr | 1
|  | moutp | e-I-SWr | c | 0.984
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 1450
|  | optm | c | 0.99
|  | bdc | up | ts | 0
#
10 | *
| ELEXSArZIr | c
|  | minp | e-H-SAr | 1
|  | moutp | e-L-ZIr | c | 0.99975
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 600
|  | optm | c | 1
|  | bdc | up | ts | 0
#
11 | *
| ELEXZArZIr | d
|  | minp | e-K-ZAr | 1
|  | moutp | e-L-ZIr | c | 0.99988
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 1400
|  | optm | c | 0.998
|  | bdc | up | ts | 0
#
16 | *
| ELEXSArBOr | a
|  | minp | e-H-SAr | 1
|  | moutp | e-B-BOr | c | 0.983
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 800
|  | optm | c | 0.998
|  | bdc | up | ts | 0
#
17 | *
| ELEXZIrBOr | b
|  | minp | e-L-ZIr | 1
|  | moutp | e-B-BOr | c | 0.975
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 650
|  | optm | c | 0.988
|  | bdc | up | ts | 0
#
18 | *
| ELEXSArLEr | a
|  | minp | e-H-SAr | 1
|  | moutp | e-D-LEr | c | 0.994
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 230
|  | optm | c | 0.981
|  | bdc | up | ts | 0
#
19 | *
| ELEXZArDRr | a
|  | minp | e-K-ZAr | 1
|  | moutp | e-C-DRr | c | 0.944
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 260
|  | optm | c | 0.991
|  | bdc | up | ts | 0
#
20 | *
| ELEXSArMOr | a
|  | minp | e-H-SAr | 1
|  | moutp | e-F-MOr | c | 0.86
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 3850
|  | optm | c | 0.992
|  | bdc | up | ts | 0
#
21 | *
| ELEXSWrMOr | b
|  | minp | e-I-SWr | 1
|  | moutp | e-F-MOr | c | 0.984
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 1450
|  | optm | c | 0.996
|  | bdc | up | ts | 0
#
22 | *
| ELEXZIrMOr | c
|  | minp | e-L-ZIr | 1
|  | moutp | e-F-MOr | c | 0.97
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 500
|  | optm | c | 0.991
|  | bdc | up | ts | 0
#
23 | *
| ELEXSArNAr | a
|  | minp | e-H-SAr | 1
|  | moutp | e-G-NAr | c | 0.95
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 750
|  | optm | c | 0.992
|  | bdc | up | ts | 0
#
24 | *
| ELEXSWrSAr | e
|  | minp | e-I-SWr | 1
|  | moutp | e-H-SAr | c | 0.984
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 1450
|  | optm | c | 0.99
|  | bdc | up | ts | 0
#
25 | *
| ELEXZIrSAr | f
|  | minp | e-L-ZIr | 1
|  | moutp | e-H-SAr | c | 0.99975
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 600
|  | optm | c | 1
|  | bdc | up | ts | 0
#
26 | *
| ELEXZIrZAr | g
|  | minp | e-L-ZIr | 1
|  | moutp | e-K-ZAr | c | 0.99988
|  | pll | c | 50
|  | hisc | 0 | hc | 2005 1400
|  | optm | c | 0.998
|  | bdc | up | ts | 0
#

## adb_exist2
*
ELEXBOrSAr a
minp e-B-BOr 1
moutp e-H-SAr c 0.983
pll c 50
hisc 0 hc 2005 800
optm c 0.998
bdc up ts 0
#
*
ELEXBOrZIr a
minp e-B-BOr 1
moutp e-L-ZIr c 0.975
pll c 50
hisc 0 hc 2005 650
optm c 0.988
bdc up ts 0
#
*
ELEXLErSAr b
minp e-D-LEr 1
moutp e-H-SAr c 0.994
pll c 50
hisc 0 hc 2005 230
optm c 0.981
bdc up ts 0
#
*
ELEXDRrZAr a
minp e-C-DRr 1
moutp e-K-ZAr c 0.944
pll c 50
hisc 0 hc 2005 260
optm c 0.991
bdc up ts 0
#
*
ELEXMOrSAr c
minp e-F-MOr 1
moutp e-H-SAr c 0.86
pll c 50
hisc 0 hc 2005 3850
optm c 0.992
bdc up ts 0
#
*
ELEXMOrSWr a
minp e-F-MOr 1
moutp e-I-SWr c 0.984
pll c 50
hisc 0 hc 2005 1450
optm c 0.996
bdc up ts 0
#
*
ELEXMOrZIr b
minp e-F-MOr 1
moutp e-L-ZIr c 0.97
pll c 50
hisc 0 hc 2005 500
optm c 0.991
bdc up ts 0
#
*
ELEXNArSAr d
minp e-G-NAr 1
moutp e-H-SAr c 0.95
pll c 50
hisc 0 hc 2005 750
optm c 0.992
bdc up ts 0
#
*
ELEXSArSWr b
minp e-H-SAr 1
moutp e-I-SWr c 0.984
pll c 50
hisc 0 hc 2005 1450
optm c 0.99
bdc up ts 0
#
*
ELEXSArZIr c
minp e-H-SAr 1
moutp e-L-ZIr c 0.99975
pll c 50
hisc 0 hc 2005 600
optm c 1
bdc up ts 0
#
*
ELEXZArZIr d
minp e-K-ZAr 1
moutp e-L-ZIr c 0.99988
pll c 50
hisc 0 hc 2005 1400
optm c 0.998
bdc up ts 0
#
*
ELEXSArBOr a
minp e-H-SAr 1
moutp e-B-BOr c 0.983
pll c 50
hisc 0 hc 2005 800
optm c 0.998
bdc up ts 0
#
*
ELEXZIrBOr b
minp e-L-ZIr 1
moutp e-B-BOr c 0.975
pll c 50
hisc 0 hc 2005 650
optm c 0.988
bdc up ts 0
#
*
ELEXSArLEr a
minp e-H-SAr 1
moutp e-D-LEr c 0.994
pll c 50
hisc 0 hc 2005 230
optm c 0.981
bdc up ts 0
#
*
ELEXZArDRr a
minp e-K-ZAr 1
moutp e-C-DRr c 0.944
pll c 50
hisc 0 hc 2005 260
optm c 0.991
bdc up ts 0
#
*
ELEXSArMOr a
minp e-H-SAr 1
moutp e-F-MOr c 0.86
pll c 50
hisc 0 hc 2005 3850
optm c 0.992
bdc up ts 0
#
*
ELEXSWrMOr b
minp e-I-SWr 1
moutp e-F-MOr c 0.984
pll c 50
hisc 0 hc 2005 1450
optm c 0.996
bdc up ts 0
#
*
ELEXZIrMOr c
minp e-L-ZIr 1
moutp e-F-MOr c 0.97
pll c 50
hisc 0 hc 2005 500
optm c 0.991
bdc up ts 0
#
*
ELEXSArNAr a
minp e-H-SAr 1
moutp e-G-NAr c 0.95
pll c 50
hisc 0 hc 2005 750
optm c 0.992
bdc up ts 0
#
*
ELEXSWrSAr e
minp e-I-SWr 1
moutp e-H-SAr c 0.984
pll c 50
hisc 0 hc 2005 1450
optm c 0.99
bdc up ts 0
#
*
ELEXZIrSAr f
minp e-L-ZIr 1
moutp e-H-SAr c 0.99975
pll c 50
hisc 0 hc 2005 600
optm c 1
bdc up ts 0
#
*
ELEXZIrZAr g
minp e-L-ZIr 1
moutp e-K-ZAr c 0.99988
pll c 50
hisc 0 hc 2005 1400
optm c 0.998
bdc up ts 0
#

## New_Raw
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
|  | From | To | Stations | Voltage | Capacity per line | Max lines in Pool Plan study | Max lines IAEA study | DisTArce | Losses | Forced Outage Rate | Total Investment | Investment cost | Earliest year | losses/km | Invesmtent per km | Investment | Losses | Earliest | Line Voltage | Power
[5 empty] | kV | [MW] |  |  | km | % |  | US$million | $/kW |  |  |  | [$/kW] | [%] | year | kV | MW
|  | Zizabona project | [14 empty] | 625 | 5
ELNCzizBOrZIr | ELNCzizZIrBOr | BOr | ZIr | ??- Hwange | 330 | 600 | 1 | 1 |  | 2% | 0% | 45 | 75 | 2015
ELNCzizNArBOr | ELNCzizBOrNAr | NAr | BOr | Sesheke - ?? | 330 | 600 | 1 | 1 |  | 2% | 0% | 45 | 75 | 2015
ELNCzizNArZIr | ELNCzizZIrNAr | NAr | ZIr | Sesheke - Hwange | 330 | 600 | 1 | 1 |  | 2% | 0% | 45 | 75 | 2015
ELNCzizNArZAr | ELNCzizZArNAr | NAr | ZAr | Sesheke - Victoria | 220 | 600 | 1 | 1 |  | 2% | 0% | 45 | 75 | 2015
ELNCzizZArZIr | ELNCzizZIrZAr | ZAr | ZIr | Victoria - Karib N-S | 330 | 600 | 1 | 1 |  | 1% | 0% | 45 | 75 | 2015
225
Westcor project
ELNUwesDRrNAr | ELNUwesNArDRr | DRr | NAr | Inga - Auas | 600-800 kVDC | 2000 | 1 | 1 | 2100 | 9% | 3.84% | 405.8 | 202.9 | 2020 |  |  | 180
ELNUwesNArSAr | ELNUwesSArNAr | NAr | SAr | Auas - Omega | 600-800 kVDC | 1500 | 1 | 1 | 1400 | 8% | 2.56% | 340.7 | 227.1 | 2020 |  |  | 120
ELNUwesDRrANr | ELNUwesANrDRr | DRr | ANr | Inga - Cuanza | 600-800 kVDC | 1500 | 1 | 1 | 700 | 8% | 1.28% | 205.4333 | 137 | 2020 |  |  | 120
ELNUwesANrBOr | ELNUwesBOrANr | ANr | BOr | Cuanza - Gaborone | 600-800 kVDC | 1500 | 1 | 1 | 2100 | 24% | 3.84% | 335.6333 | 223.8 | 2020 |  |  | 360
ELNUwesBOrSAr | ELNUwesSArBOr | BOr | SAr | Gaborone - Pegasus | 600-800 kVDC | 1000 | 1 | 1 | 700 | 12% | 1.28% | 205.4333 | 205.4 | 2020 |  |  | 120
[10 empty] | lines cost/km |  | 0.093
[10 empty] | HCDC converters per line |  | 421
765 lines
ELNU765DRrZAr | ELNU765ZArDRr | DRr | ZAr | Inga - Kolwezi - Luano | 600 kVDC, 765 AC | 1500 | 2 | 2 | 450 | 6% | 0.82% | 905 | 603.3 | 2020
ELNU765ZArZIr | ELNU765ZIrZAr | ZAr | ZIr | Luano - Kariba S - Insukamini | 765 | 1500 | 2 | 2 | 450 | 6% | 0.82% | 660 | 440 | 2020
ELNU765ZIrNAr | ELNU765NArZIr | ZIr | NAr | Insukamini - Witkop | 765 | 1500 | 2 | 2 | 450 | 6% | 0.82% | 330 | 220 | 2020
ELNU765ZIrSAr | ELNU765SArZIr | ZIr | SAr | ??? | 765 | 1500 | 2 | 2 | 450 | 6% | 0.82% | 330 | 220 | 2020
Other Transmission Projects
ELNUothANrDRr | ELNUothDRrANr | ANr | DRr | Lunda - Inga | 400 | 600 | 1 | 1 | 250 | 2% | 0.46% | 93.8 | 156.3 | 2016 | 0.008% | 0.3752 | 175 | 2 | 2015
ELNUothBOrSAr | ELNUothSArBOr | BOr | SAr | Phokoje - Mmaba | 400 | 500 | 1 | 1 | 200 | 2% | 0.37% | 48.8 | 97.6 | 2012 |  | 0.244 | 55 | 2
ELNUothDRrZAr | ELNUothZArDRr | DRr | ZAr | KSMBL - MICHL | 220 | 500 | 1 | 1 | 250 | 0.01 | 0.46% | 35.1 | 70.2 | 2017 |  |  | 126 | 11
ELNUothLErSAr | ELNUothSArLEr | LEr | SAr | Merap - MaBOre | 132 | 130 | 1 | 1 |  |  | 0% | 6.5 | 50 | 2015 |  |  | 50 | 3
ELNUothMArMOrps | ELNUothMOrMArps | MAr | MOr | Phomb - Songo | 400 | 600 | 1 | 1 | 250 | 2% | 0.46% | 58.9 | 98.2 | 2017 |  | 0.2356 | 133 | 3 | 2012
ELNUothMArMOrpm | ELNUothMOrMArpm | MAr | MOr | Phomb - Matam | 220 | 300 | 1 | 1 | 220 | 3% | 0.4% | 35.1 | 117 | 2015 |  | 0.15955
ELNUothMArZAr | ELNUothZArMAr | MAr | ZAr | ??? | 220 | 200 | 1 | 1 |  | 4% | 0% | 83.2 | 416 | 2018 |  |  | 416 | 4
ELNUothMOrSAr | ELNUothSArMOr | MOr | SAr | Maputo - Hendr | 400 | 600 | 1 | 1 | 330 | 2% | 0.6% | 73.6 | 122.7 | 2018 |  |  | 150 | 2
ELNUothMOrZIr | ELNUothZIrMOr | MOr | ZIr | Songo - Bindura | 400 | 500 | 1 | 1 | 250 | 3% | 0.46% | 49 | 98 | 2017 |  |  | 225 | 3
ELNUothNArSAr | ELNUothSArNAr | NAr | SAr | Kudu - Juno | 400 | 300 | 1 | 1 | 410 | 7% | 0.75% | 96 | 320 | 2018 |  |  | 74 | 7
ELNUothSArSWr | ELNUothSWrSAr | SAr | SWr | Normandie - NH2 | 132 | 450 | 1 | 1 | 50 | 1% | 0.09% | 7 | 15.6 | 2018 |  |  | 167 | 1
ELNUothNArAnr | ELNUothAnrNAr | NAr | Anr | Namibia Angola | 400 | 400 | 1 | 1 | 500 | 1% | 0.91% | 96 | 240 | 2016
ELNUothTArZAr | ELNUothZArTAr | TAr | ZAr | Mbeya - Kasma | 330 | 400 | 1 | 1 | 410 | 6% | 0.75% | 81.6 | 204 | 2016 |  |  | 750 | 6 | 2014
ELNUothSArZIr | ELNUothZIrSAr | SAr | ZIr |  |  | 650 | 1 | 1 | 450 | 0.06 | 0.0082 | 330 | 220 | 2017
Updated in October 2011 using a presentation given by Musara in June 2011
updated in October 2012 using SADC MoU 2012
Note on F3: Bruno: From SAPP pool Plan study.
Note on H3: Bruno: From SAPP pool Plan study.
Note on J3: Bruno: From SAPP pool Plan study.
Note on K3: Bruno: From Alfstad
Note on L3: Bruno: Based on 16hr/year per km - Personal communication JL Pabot 2006/Perdue
Note on M3: Bruno: From SAPP pool Plan study.
Note on O3: Bruno: From SAPP Overview RT Presentation July 2009.
Note on O7: Bruno Merven: SADC MOU Priority Projects - July 2012
Note on C13: Bruno: Data from Westcor power inter-connect SAPP document.
Note on G14: Bruno: This must be checked
Note on G22: Bruno: Unresearched estimate
Note on O28: Bruno Merven: SADC MOU Priority Projects
Note on J30: Bruno: no reference for this value
Note on E34: Bruno: Not in Pool Plan study
Note on N34: Bruno: From Alfstad
Note on O34: Bruno Merven: not in MoU so pushed back from 2012 (Nexant Pool Plan Study) to 2018
Note on O35: Bruno Merven: not in MoU so pushed back from 2012 (Nexant Pool Plan Study) to 2018
Note on O37: Bruno Merven: not in MoU so pushed back from 2012 (Nexant Pool Plan Study) to 2018
Note on O38: Bruno Merven: not in MoU so pushed back from 2012 (Nexant Pool Plan Study) to 2018

## MSG_New
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
New Transmission ZIZABONA | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | bdc (fx)
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW | MW |  | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
ELNCzizBOrZIr | Electricity/Secondary/BOr | Electricity/Secondary/ZIr | i | 1 | 0.98 |  | 1 | 50 | 80.3749 |  |  | 0 0 0 0 0 600 0 |  | 2.1636 | 2.2671 | 1.6246 | 2.1554 | 2.8346 | 3.3347 | 3.2525 | 2.9411 | 2.1782 | 0.92363 | 0.95305
ELNCzizNArBOr | Electricity/Secondary/NAr | Electricity/Secondary/BOr | i | 1 | 0.98 |  | 1 | 50 | 80.3749 |  |  | 0 0 0 0 0 600 0 |  | 1 | 1.0227 | 1.0393 | 1.0617 | 1.0918 | 1.1282 | 1.1649 | 1.1991 | 1.2253 | 1.2366 | 1.2484
ELNCzizNArZIr | Electricity/Secondary/NAr | Electricity/Secondary/ZIr | j | 1 | 0.98 |  | 1 | 50 | 80.3749 |  |  | 0 0 0 0 0 600 0 |  | 1 | 0.97783 | 0.9622 | 0.9419 | 0.91594 | 0.88638 | 0.85846 | 0.83393 | 0.81615 | 0.80868 | 0.80105
ELNCzizNArZAr | Electricity/Secondary/NAr | Electricity/Secondary/ZAr | i | 1 | 0.98 |  | 1 | 50 | 80.3749 |  |  | 0 0 0 0 0 600 0 |  | 2010: 1.0717
ELNCzizZArZIr | Electricity/Secondary/ZAr | Electricity/Secondary/ZIr | k | 1 | 0.99 |  | 1 | 50 | 80.3749 |  |  | 0 0 0 0 0 600 0
New Transmission ZIZABONA (Reverse) | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | bdc (fx)
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW | MW
ELNCzizZIrBOr | Electricity/Secondary/ZIr | Electricity/Secondary/BOr | j | 1 | 0.98 |  | 1 | 50 |  |  |  | 0 0 0 0 0 600 0
ELNCzizBOrNAr | Electricity/Secondary/BOr | Electricity/Secondary/NAr | i | 1 | 0.98 |  | 1 | 50 |  |  |  | 0 0 0 0 0 600 0
ELNCzizZIrNAr | Electricity/Secondary/ZIr | Electricity/Secondary/NAr | j | 1 | 0.98 |  | 1 | 50 |  |  |  | 0 0 0 0 0 600 0
ELNCzizZArNAr | Electricity/Secondary/ZAr | Electricity/Secondary/NAr | k | 1 | 0.98 |  | 1 | 50 |  |  |  | 0 0 0 0 0 600 0
ELNCzizZIrZAr | Electricity/Secondary/ZIr | Electricity/Secondary/ZAr | j | 1 | 0.99 |  | 1 | 50 |  |  |  | 0 0 0 0 0 600 0
New Transmission Westcor | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | Constraint Name | Constraint value
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW
ELNUwesDRrNAr | Electricity/Secondary/DRr | Electricity/Secondary/NAr | l | 1 | 0.91 | 2020 | 0.9616 | 50 | 217.4408 | 2000 |  | wDN1 | 1
ELNUwesNArSAr | Electricity/Secondary/NAr | Electricity/Secondary/SAr | i | 1 | 0.92 | 2020 | 0.9744 | 50 | 243.3751 | 1500 |  | wNS1 | 1
ELNUwesDRrANr | Electricity/Secondary/DRr | Electricity/Secondary/ANr | i | 1 | 0.92 | 2020 | 0.9872 | 50 | 146.8181 | 1500 |  | wDA1 | 1
ELNUwesANrBOr | Electricity/Secondary/ANr | Electricity/Secondary/BOr | k | 1 | 0.76 | 2020 | 0.9616 | 50 | 239.8386 | 1500 |  | wAB1 | 1
ELNUwesBOrSAr | Electricity/Secondary/BOr | Electricity/Secondary/SAr | j | 1 | 0.88 | 2020 | 0.9872 | 50 | 220.12 | 1000 |  | wBS1 | 1
New Transmission Westcor (Reverse) | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | Constraint Name | Constraint value
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW
ELNUwesNArDRr | Electricity/Secondary/NAr | Electricity/Secondary/DRr | i | 1 | 0.91 | 2020 | 0.9616 | 50 |  | 2000 |  | wDN1 | -1
ELNUwesSArNAr | Electricity/Secondary/SAr | Electricity/Secondary/NAr | m | 1 | 0.92 | 2020 | 0.9744 | 50 |  | 1500 |  | wNS1 | -1
ELNUwesANrDRr | Electricity/Secondary/ANr | Electricity/Secondary/DRr | p | 1 | 0.92 | 2020 | 0.9872 | 50 |  | 1500 |  | wDA1 | -1
ELNUwesBOrANr | Electricity/Secondary/BOr | Electricity/Secondary/ANr | r | 1 | 0.76 | 2020 | 0.9616 | 50 |  | 1500 |  | wAB1 | -1
ELNUwesSArBOr | Electricity/Secondary/SAr | Electricity/Secondary/BOr | q | 1 | 0.88 | 2020 | 0.9872 | 50 |  | 1000 |  | wBS1 | -1
New Transmission 765 kV | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | Constraint Name | Constraint value
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW
ELNU765DRrZAr | Electricity/Secondary/DRr | Electricity/Secondary/ZAr | u | 1 | 0.94 | 2020 | 0.9918 | 50 | 646.5355 | 3000 | 1500 | 7DZ1 | 1
ELNU765ZArZIr | Electricity/Secondary/ZAr | Electricity/Secondary/ZIr | t | 1 | 0.94 | 2020 | 0.9918 | 50 | 471.5326 | 3000 | 1500 | 7ZZ1 | 1
ELNU765ZIrNAr | Electricity/Secondary/ZIr | Electricity/Secondary/NAr | n | 1 | 0.94 | 2020 | 0.9918 | 50 | 235.7663 | 3000 | 1500 | 7ZN1 | 1
ELNU765ZIrSAr | Electricity/Secondary/ZIr | Electricity/Secondary/SAr | k | 1 | 0.94 | 2020 | 0.9918 | 50 | 235.7663 | 3000 | 1500 | 7ZS1 | 1
New Transmission 765 kV (Reverse) | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | Constraint Name | Constraint value
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW
ELNU765ZArDRr | Electricity/Secondary/ZAr | Electricity/Secondary/DRr | j | 1 | 0.94 | 2020 | 0.9918 | 50 |  | 3000 | 1500 | 7DZ1 | -1
ELNU765ZIrZAr | Electricity/Secondary/ZIr | Electricity/Secondary/ZAr | l | 1 | 0.94 | 2020 | 0.9918 | 50 |  | 3000 | 1500 | 7ZZ1 | -1
ELNU765NArZIr | Electricity/Secondary/NAr | Electricity/Secondary/ZIr | m | 1 | 0.94 | 2020 | 0.9918 | 50 |  | 3000 | 1500 | 7ZN1 | -1
ELNU765SArZIr | Electricity/Secondary/SAr | Electricity/Secondary/ZIr | n | 1 | 0.94 | 2020 | 0.9918 | 51 |  | 3000 | 1500 | 7ZS1 | -1
New Transmission Other Projects | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | Constraint Name | Constraint value
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW
ELNUothANrDRr | Electricity/Secondary/ANr | Electricity/Secondary/DRr | k | 1 | 0.98 | 2016 | 0.9954 | 50 | 167.5012 | 600 | 600 | oAD1 | 1
ELNUothBOrSAr | Electricity/Secondary/BOr | Electricity/Secondary/SAr | l | 1 | 0.98 | 2012 | 0.9963 | 50 | 104.5945 | 500 | 500 | oBS1 | 1
ELNUothDRrZAr | Electricity/Secondary/DRr | Electricity/Secondary/ZAr | m | 1 | 0.99 | 2017 | 0.9954 | 50 | 75.2309 | 500 | 500 | oDZ1 | 1
ELNUothLErSAr | Electricity/Secondary/LEr | Electricity/Secondary/SAr | m | 1 | 1 | 2015 | 1 | 50 | 53.5832 | 130 | 130 | oLS1 | 1
ELNUothMArMOrps | Electricity/Secondary/MAr | Electricity/Secondary/MOr | i | 1 | 0.98 | 2017 | 0.9954 | 50 | 105.2375 | 600 | 600 | oMM1 | 1
ELNUothMArMOrpm | Electricity/Secondary/MAr | Electricity/Secondary/MOr | j | 1 | 0.97 | 2015 | 0.996 | 50 | 125.3848 | 300 | 300 | oMM2 | 1
ELNUothMArZAr | Electricity/Secondary/MAr | Electricity/Secondary/ZAr | n | 1 | 0.96 | 2018 | 1 | 50 | 445.8126 | 200 | 200 | oMZ1 | 1
ELNUothMOrSAr | Electricity/Secondary/MOr | Electricity/Secondary/SAr | n | 1 | 0.98 | 2018 | 0.994 | 50 | 131.4933 | 600 | 600 | oMS1 | 1
ELNUothMOrZIr | Electricity/Secondary/MOr | Electricity/Secondary/ZIr | o | 1 | 0.97 | 2017 | 0.9954 | 50 | 105.0232 | 500 | 500 | oMZ2 | 1
ELNUothNArSAr | Electricity/Secondary/NAr | Electricity/Secondary/SAr | o | 1 | 0.93 | 2018 | 0.9925 | 50 | 342.9328 | 300 | 300 | oNS1 | 1
ELNUothSArSWr | Electricity/Secondary/SAr | Electricity/Secondary/SWr | i | 1 | 0.99 | 2018 | 0.9991 | 50 | 16.718 | 450 | 450 | oSS1 | 1
ELNUothNArAnr | Electricity/Secondary/NAr | Electricity/Secondary/Anr | k | 1 | 0.99 | 2016 | 0.9909 | 51 | 257.1996 | 400 | 400 | oNA1 | 1
ELNUothTArZAr | Electricity/Secondary/TAr | Electricity/Secondary/ZAr | o | 1 | 0.94 | 2016 | 0.9925 | 50 | 218.6197 | 400 | 400 | oTZ1 | 1
ELNUothSArZIr | Electricity/Secondary/SAr | Electricity/Secondary/ZIr | v | 1 | 0.94 | 2017 | 0.9918 | 50 | 235.7663 | 650 | 650 | oSZ1 | 1
New Transmission Other (Reverse) | Main Input | Main Output | Name | Main Input | Main Output | First year | operation time | Plant life | Investment Costs | bdi (up) | bdc (up) | Constraint Name | Constraint value
MESSAGE Name | Name | Name | alt | Value | Value |  | share |  | US$'00/kW | MW | MW
ELNUothDRrANr | Electricity/Secondary/DRr | Electricity/Secondary/ANr | l | 1 | 0.98 | 2016 | 0.9954 | 50 |  | 600 | 600 | oAD1 | -1
ELNUothSArBOr | Electricity/Secondary/SAr | Electricity/Secondary/BOr | m | 1 | 0.98 | 2012 | 0.9963 | 50 |  | 500 | 500 | oBS1 | -1
ELNUothZArDRr | Electricity/Secondary/ZAr | Electricity/Secondary/DRr | l | 1 | 0.99 | 2017 | 0.9954 | 50 |  | 500 | 500 | oDZ1 | -1
ELNUothSArLEr | Electricity/Secondary/SAr | Electricity/Secondary/LEr | i | 1 | 1 | 2015 | 1 | 50 |  | 130 | 130 | oLS1 | -1
ELNUothMOrMArps | Electricity/Secondary/MOr | Electricity/Secondary/MAr | i | 1 | 0.98 | 2017 | 0.9954 | 50 |  | 600 | 600 | oMM1 | -1
ELNUothMOrMArpm | Electricity/Secondary/MOr | Electricity/Secondary/MAr | j | 1 | 0.97 | 2015 | 0.996 | 50 |  | 300 | 300 | oMM2 | -1
ELNUothZArMAr | Electricity/Secondary/ZAr | Electricity/Secondary/MAr | k | 1 | 0.96 | 2018 | 1 | 50 |  | 200 | 200 | oMZ1 | -1
ELNUothSArMOr | Electricity/Secondary/SAr | Electricity/Secondary/MOr | k | 1 | 0.98 | 2018 | 0.994 | 50 |  | 600 | 600 | oMS1 | -1
ELNUothZIrMOr | Electricity/Secondary/ZIr | Electricity/Secondary/MOr | l | 1 | 0.97 | 2017 | 0.9954 | 50 |  | 500 | 500 | oMZ2 | -1
ELNUothSArNAr | Electricity/Secondary/SAr | Electricity/Secondary/NAr | o | 1 | 0.93 | 2018 | 0.9925 | 50 |  | 300 | 300 | oNS1 | -1
ELNUothSWrSAr | Electricity/Secondary/SWr | Electricity/Secondary/SAr | p | 1 | 0.99 | 2018 | 0.9991 | 50 |  | 450 | 450 | oSS1 | -1
ELNUothAnrNAr | Electricity/Secondary/Anr | Electricity/Secondary/NAr | p | 1 | 0.99 | 2016 | 0.9909 | 51 |  | 400 | 400 | oNA1 | -1
ELNUothZArTAr | Electricity/Secondary/ZAr | Electricity/Secondary/TAr | i | 1 | 0.94 | 2016 | 0.9925 | 50 |  | 400 | 400 | oTZ1 | -1
ELNUothZIrSAr | Electricity/Secondary/ZIr | Electricity/Secondary/SAr | w | 1 | 0.94 | 2017 | 0.9918 | 50 |  | 650 | 650 | oSZ1 | -1

## adb_new
ZIZABONA
1 | *
| ELNCzizBOrZIr | i
|  | minp | e-B-BOr | 1
|  | moutp | e-L-ZIr | c | 0.98
|  | pll | c | 50
|  | inv | c | 80.3749
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
2 | *
| ELNCzizNArBOr | i
|  | minp | e-G-NAr | 1
|  | moutp | e-B-BOr | c | 0.98
|  | pll | c | 50
|  | inv | c | 80.3749
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
3 | *
| ELNCzizNArZIr | j
|  | minp | e-G-NAr | 1
|  | moutp | e-L-ZIr | c | 0.98
|  | pll | c | 50
|  | inv | c | 80.3749
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
4 | *
| ELNCzizNArZAr | i
|  | minp | e-G-NAr | 1
|  | moutp | e-K-ZAr | c | 0.98
|  | pll | c | 50
|  | inv | c | 80.3749
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
5 | *
| ELNCzizZArZIr | k
|  | minp | e-K-ZAr | 1
|  | moutp | e-L-ZIr | c | 0.99
|  | pll | c | 50
|  | inv | c | 80.3749
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
9 | *
| ELNCzizZIrBOr | j
|  | minp | e-L-ZIr | 1
|  | moutp | e-B-BOr | c | 0.98
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
10 | *
| ELNCzizBOrNAr | i
|  | minp | e-B-BOr | 1
|  | moutp | e-G-NAr | c | 0.98
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
11 | *
| ELNCzizZIrNAr | j
|  | minp | e-L-ZIr | 1
|  | moutp | e-G-NAr | c | 0.98
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
12 | *
| ELNCzizZArNAr | k
|  | minp | e-K-ZAr | 1
|  | moutp | e-G-NAr | c | 0.98
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
13 | *
| ELNCzizZIrZAr | j
|  | minp | e-L-ZIr | 1
|  | moutp | e-K-ZAr | c | 0.99
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | fx | ts | 0 0 0 0 0 600 0
#
1 | * | [6 empty] | Westcor
| ELNUwesDRrNAr | l
|  | minp | e-C-DRr | 1
|  | moutp | e-G-NAr | c | 0.91
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 217.4408
|  | optm | c | 0.9616
|  | bdi | up | c | 2000
|  | con1c | wDN1:tin | c | 1
#
2 | *
| ELNUwesNArSAr | i
|  | minp | e-G-NAr | 1
|  | moutp | e-H-SAr | c | 0.92
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 243.3751
|  | optm | c | 0.9744
|  | bdi | up | c | 1500
|  | con1c | wNS1:tin | c | 1
#
3 | *
| ELNUwesDRrANr | i
|  | minp | e-C-DRr | 1
|  | moutp | e-A-ANr | c | 0.92
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 146.8181
|  | optm | c | 0.9872
|  | bdi | up | c | 1500
|  | con1c | wDA1:tin | c | 1
#
4 | *
| ELNUwesANrBOr | k
|  | minp | e-A-ANr | 1
|  | moutp | e-B-BOr | c | 0.76
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 239.8386
|  | optm | c | 0.9616
|  | bdi | up | c | 1500
|  | con1c | wAB1:tin | c | 1
#
5 | *
| ELNUwesBOrSAr | j
|  | minp | e-B-BOr | 1
|  | moutp | e-H-SAr | c | 0.88
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 220.12
|  | optm | c | 0.9872
|  | bdi | up | c | 1000
|  | con1c | wBS1:tin | c | 1
#
9 | *
| ELNUwesNArDRr | i
|  | minp | e-G-NAr | 1
|  | moutp | e-C-DRr | c | 0.91
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9616
|  | bdi | up | c | 2000
|  | con1c | wDN1:tin | c | -1
#
10 | *
| ELNUwesSArNAr | m
|  | minp | e-H-SAr | 1
|  | moutp | e-G-NAr | c | 0.92
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9744
|  | bdi | up | c | 1500
|  | con1c | wNS1:tin | c | -1
#
11 | *
| ELNUwesANrDRr | p
|  | minp | e-A-ANr | 1
|  | moutp | e-C-DRr | c | 0.92
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9872
|  | bdi | up | c | 1500
|  | con1c | wDA1:tin | c | -1
#
12 | *
| ELNUwesBOrANr | r
|  | minp | e-B-BOr | 1
|  | moutp | e-A-ANr | c | 0.76
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9616
|  | bdi | up | c | 1500
|  | con1c | wAB1:tin | c | -1
#
13 | *
| ELNUwesSArBOr | q
|  | minp | e-H-SAr | 1
|  | moutp | e-B-BOr | c | 0.88
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9872
|  | bdi | up | c | 1000
|  | con1c | wBS1:tin | c | -1
#
1 | * | [5 empty] | 765
| ELNU765DRrZAr | u
|  | minp | e-C-DRr | 1
|  | moutp | e-K-ZAr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 646.5355
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7DZ1:tin | c | 1
#
2 | *
| ELNU765ZArZIr | t
|  | minp | e-K-ZAr | 1
|  | moutp | e-L-ZIr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 471.5326
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7ZZ1:tin | c | 1
#
3 | *
| ELNU765ZIrNAr | n
|  | minp | e-L-ZIr | 1
|  | moutp | e-G-NAr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 235.7663
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7ZN1:tin | c | 1
#
4 | *
| ELNU765ZIrSAr | k
|  | minp | e-L-ZIr | 1
|  | moutp | e-H-SAr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 235.7663
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7ZS1:tin | c | 1
#
8 | *
| ELNU765ZArDRr | j
|  | minp | e-K-ZAr | 1
|  | moutp | e-C-DRr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7DZ1:tin | c | -1
#
9 | *
| ELNU765ZIrZAr | l
|  | minp | e-L-ZIr | 1
|  | moutp | e-K-ZAr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7ZZ1:tin | c | -1
#
10 | *
| ELNU765NArZIr | m
|  | minp | e-G-NAr | 1
|  | moutp | e-L-ZIr | c | 0.94
|  | fyear | 2020
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7ZN1:tin | c | -1
#
11 | *
| ELNU765SArZIr | n
|  | minp | e-H-SAr | 1
|  | moutp | e-L-ZIr | c | 0.94
|  | fyear | 2020
|  | pll | c | 51
|  | inv | c | 0
|  | optm | c | 0.9918
|  | bdc | up | c | 1500
|  | bdi | up | c | 3000
|  | con1c | 7ZS1:tin | c | -1
#
1 | * |  |  |  |  | Other
| ELNUothANrDRr | k
|  | minp | e-A-ANr | 1
|  | moutp | e-C-DRr | c | 0.98
|  | fyear | 2016
|  | pll | c | 50
|  | inv | c | 167.5012
|  | optm | c | 0.9954
|  | bdc | up | c | 600
|  | bdi | up | c | 600
|  | con1c | oAD1:tin | c | 1
#
2 | *
| ELNUothBOrSAr | l
|  | minp | e-B-BOr | 1
|  | moutp | e-H-SAr | c | 0.98
|  | fyear | 2012
|  | pll | c | 50
|  | inv | c | 104.5945
|  | optm | c | 0.9963
|  | bdc | up | c | 500
|  | bdi | up | c | 500
|  | con1c | oBS1:tin | c | 1
#
3 | *
| ELNUothDRrZAr | m
|  | minp | e-C-DRr | 1
|  | moutp | e-K-ZAr | c | 0.99
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 75.2309
|  | optm | c | 0.9954
|  | bdc | up | c | 500
|  | bdi | up | c | 500
|  | con1c | oDZ1:tin | c | 1
#
4 | *
| ELNUothLErSAr | m
|  | minp | e-D-LEr | 1
|  | moutp | e-H-SAr | c | 1
|  | fyear | 2015
|  | pll | c | 50
|  | inv | c | 53.5832
|  | optm | c | 1
|  | bdc | up | c | 130
|  | bdi | up | c | 130
|  | con1c | oLS1:tin | c | 1
#
5 | *
| ELNUothMArMOrps | i
|  | minp | e-E-MAr | 1
|  | moutp | e-F-MOr | c | 0.98
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 105.2375
|  | optm | c | 0.9954
|  | bdc | up | c | 600
|  | bdi | up | c | 600
|  | con1c | oMM1:tin | c | 1
#
6 | *
| ELNUothMArMOrpm | j
|  | minp | e-E-MAr | 1
|  | moutp | e-F-MOr | c | 0.97
|  | fyear | 2015
|  | pll | c | 50
|  | inv | c | 125.3848
|  | optm | c | 0.996
|  | bdc | up | c | 300
|  | bdi | up | c | 300
|  | con1c | oMM2:tin | c | 1
#
7 | *
| ELNUothMArZAr | n
|  | minp | e-E-MAr | 1
|  | moutp | e-K-ZAr | c | 0.96
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 445.8126
|  | optm | c | 1
|  | bdc | up | c | 200
|  | bdi | up | c | 200
|  | con1c | oMZ1:tin | c | 1
#
8 | *
| ELNUothMOrSAr | n
|  | minp | e-F-MOr | 1
|  | moutp | e-H-SAr | c | 0.98
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 131.4933
|  | optm | c | 0.994
|  | bdc | up | c | 600
|  | bdi | up | c | 600
|  | con1c | oMS1:tin | c | 1
#
9 | *
| ELNUothMOrZIr | o
|  | minp | e-F-MOr | 1
|  | moutp | e-L-ZIr | c | 0.97
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 105.0232
|  | optm | c | 0.9954
|  | bdc | up | c | 500
|  | bdi | up | c | 500
|  | con1c | oMZ2:tin | c | 1
#
10 | *
| ELNUothNArSAr | o
|  | minp | e-G-NAr | 1
|  | moutp | e-H-SAr | c | 0.93
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 342.9328
|  | optm | c | 0.9925
|  | bdc | up | c | 300
|  | bdi | up | c | 300
|  | con1c | oNS1:tin | c | 1
#
11 | *
| ELNUothSArSWr | i
|  | minp | e-H-SAr | 1
|  | moutp | e-I-SWr | c | 0.99
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 16.718
|  | optm | c | 0.9991
|  | bdc | up | c | 450
|  | bdi | up | c | 450
|  | con1c | oSS1:tin | c | 1
#
12 | *
| ELNUothNArAnr | k
|  | minp | e-G-NAr | 1
|  | moutp | e-A-ANr | c | 0.99
|  | fyear | 2016
|  | pll | c | 51
|  | inv | c | 257.1996
|  | optm | c | 0.9909
|  | bdc | up | c | 400
|  | bdi | up | c | 400
|  | con1c | oNA1:tin | c | 1
#
13 | *
| ELNUothTArZAr | o
|  | minp | e-J-TAr | 1
|  | moutp | e-K-ZAr | c | 0.94
|  | fyear | 2016
|  | pll | c | 50
|  | inv | c | 218.6197
|  | optm | c | 0.9925
|  | bdc | up | c | 400
|  | bdi | up | c | 400
|  | con1c | oTZ1:tin | c | 1
#
14 | *
| ELNUothSArZIr | v
|  | minp | e-H-SAr | 1
|  | moutp | e-L-ZIr | c | 0.94
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 235.7663
|  | optm | c | 0.9918
|  | bdc | up | c | 650
|  | bdi | up | c | 650
|  | con1c | oSZ1:tin | c | 1
#
18 | *
| ELNUothDRrANr | l
|  | minp | e-C-DRr | 1
|  | moutp | e-A-ANr | c | 0.98
|  | fyear | 2016
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9954
|  | bdc | up | c | 600
|  | bdi | up | c | 600
|  | con1c | oAD1:tin | c | -1
#
19 | *
| ELNUothSArBOr | m
|  | minp | e-H-SAr | 1
|  | moutp | e-B-BOr | c | 0.98
|  | fyear | 2012
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9963
|  | bdc | up | c | 500
|  | bdi | up | c | 500
|  | con1c | oBS1:tin | c | -1
#
20 | *
| ELNUothZArDRr | l
|  | minp | e-K-ZAr | 1
|  | moutp | e-C-DRr | c | 0.99
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9954
|  | bdc | up | c | 500
|  | bdi | up | c | 500
|  | con1c | oDZ1:tin | c | -1
#
21 | *
| ELNUothSArLEr | i
|  | minp | e-H-SAr | 1
|  | moutp | e-D-LEr | c | 1
|  | fyear | 2015
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | up | c | 130
|  | bdi | up | c | 130
|  | con1c | oLS1:tin | c | -1
#
22 | *
| ELNUothMOrMArps | i
|  | minp | e-F-MOr | 1
|  | moutp | e-E-MAr | c | 0.98
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9954
|  | bdc | up | c | 600
|  | bdi | up | c | 600
|  | con1c | oMM1:tin | c | -1
#
23 | *
| ELNUothMOrMArpm | j
|  | minp | e-F-MOr | 1
|  | moutp | e-E-MAr | c | 0.97
|  | fyear | 2015
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.996
|  | bdc | up | c | 300
|  | bdi | up | c | 300
|  | con1c | oMM2:tin | c | -1
#
24 | *
| ELNUothZArMAr | k
|  | minp | e-K-ZAr | 1
|  | moutp | e-E-MAr | c | 0.96
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 1
|  | bdc | up | c | 200
|  | bdi | up | c | 200
|  | con1c | oMZ1:tin | c | -1
#
25 | *
| ELNUothSArMOr | k
|  | minp | e-H-SAr | 1
|  | moutp | e-F-MOr | c | 0.98
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.994
|  | bdc | up | c | 600
|  | bdi | up | c | 600
|  | con1c | oMS1:tin | c | -1
#
26 | *
| ELNUothZIrMOr | l
|  | minp | e-L-ZIr | 1
|  | moutp | e-F-MOr | c | 0.97
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9954
|  | bdc | up | c | 500
|  | bdi | up | c | 500
|  | con1c | oMZ2:tin | c | -1
#
27 | *
| ELNUothSArNAr | o
|  | minp | e-H-SAr | 1
|  | moutp | e-G-NAr | c | 0.93
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9925
|  | bdc | up | c | 300
|  | bdi | up | c | 300
|  | con1c | oNS1:tin | c | -1
#
28 | *
| ELNUothSWrSAr | p
|  | minp | e-I-SWr | 1
|  | moutp | e-H-SAr | c | 0.99
|  | fyear | 2018
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9991
|  | bdc | up | c | 450
|  | bdi | up | c | 450
|  | con1c | oSS1:tin | c | -1
#
29 | *
| ELNUothAnrNAr | p
|  | minp | e-A-ANr | 1
|  | moutp | e-G-NAr | c | 0.99
|  | fyear | 2016
|  | pll | c | 51
|  | inv | c | 0
|  | optm | c | 0.9909
|  | bdc | up | c | 400
|  | bdi | up | c | 400
|  | con1c | oNA1:tin | c | -1
#
30 | *
| ELNUothZArTAr | i
|  | minp | e-K-ZAr | 1
|  | moutp | e-J-TAr | c | 0.94
|  | fyear | 2016
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9925
|  | bdc | up | c | 400
|  | bdi | up | c | 400
|  | con1c | oTZ1:tin | c | -1
#
31 | *
| ELNUothZIrSAr | w
|  | minp | e-L-ZIr | 1
|  | moutp | e-H-SAr | c | 0.94
|  | fyear | 2017
|  | pll | c | 50
|  | inv | c | 0
|  | optm | c | 0.9918
|  | bdc | up | c | 650
|  | bdi | up | c | 650
|  | con1c | oSZ1:tin | c | -1
#

## adb_new2
ZIZABONA
*
ELNCzizBOrZIr i
minp e-B-BOr 1
moutp e-L-ZIr c 0.98
pll c 50
inv c 80.3748717037979
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizNArBOr i
minp e-G-NAr 1
moutp e-B-BOr c 0.98
pll c 50
inv c 80.3748717037979
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizNArZIr j
minp e-G-NAr 1
moutp e-L-ZIr c 0.98
pll c 50
inv c 80.3748717037979
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizNArZAr i
minp e-G-NAr 1
moutp e-K-ZAr c 0.98
pll c 50
inv c 80.3748717037979
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizZArZIr k
minp e-K-ZAr 1
moutp e-L-ZIr c 0.99
pll c 50
inv c 80.3748717037979
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizZIrBOr j
minp e-L-ZIr 1
moutp e-B-BOr c 0.98
pll c 50
inv c 0
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizBOrNAr i
minp e-B-BOr 1
moutp e-G-NAr c 0.98
pll c 50
inv c 0
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizZIrNAr j
minp e-L-ZIr 1
moutp e-G-NAr c 0.98
pll c 50
inv c 0
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizZArNAr k
minp e-K-ZAr 1
moutp e-G-NAr c 0.98
pll c 50
inv c 0
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
*
ELNCzizZIrZAr j
minp e-L-ZIr 1
moutp e-K-ZAr c 0.99
pll c 50
inv c 0
optm c 1
bdc fx ts 0 0 0 0 0 600 0
#
* |  | Westcor
ELNUwesDRrNAr l
minp e-C-DRr 1
moutp e-G-NAr c 0.91
fyear 2020
pll c 50
inv c 217.440819582674
optm c 0.9616
bdi up c 2000
con1c wDN1:tin c 1
#
*
ELNUwesNArSAr i
minp e-G-NAr 1
moutp e-H-SAr c 0.92
fyear 2020
pll c 50
inv c 243.3751115191
optm c 0.9744
bdi up c 1500
con1c wNS1:tin c 1
#
*
ELNUwesDRrANr i
minp e-C-DRr 1
moutp e-A-ANr c 0.92
fyear 2020
pll c 50
inv c 146.818098978937
optm c 0.9872
bdi up c 1500
con1c wDA1:tin c 1
#
*
ELNUwesANrBOr k
minp e-A-ANr 1
moutp e-B-BOr c 0.76
fyear 2020
pll c 50
inv c 239.838617164133
optm c 0.9616
bdi up c 1500
con1c wAB1:tin c 1
#
*
ELNUwesBOrSAr j
minp e-B-BOr 1
moutp e-H-SAr c 0.88
fyear 2020
pll c 50
inv c 220.119981972801
optm c 0.9872
bdi up c 1000
con1c wBS1:tin c 1
#
*
ELNUwesNArDRr i
minp e-G-NAr 1
moutp e-C-DRr c 0.91
fyear 2020
pll c 50
inv c 0
optm c 0.9616
bdi up c 2000
con1c wDN1:tin c -1
#
*
ELNUwesSArNAr m
minp e-H-SAr 1
moutp e-G-NAr c 0.92
fyear 2020
pll c 50
inv c 0
optm c 0.9744
bdi up c 1500
con1c wNS1:tin c -1
#
*
ELNUwesANrDRr p
minp e-A-ANr 1
moutp e-C-DRr c 0.92
fyear 2020
pll c 50
inv c 0
optm c 0.9872
bdi up c 1500
con1c wDA1:tin c -1
#
*
ELNUwesBOrANr r
minp e-B-BOr 1
moutp e-A-ANr c 0.76
fyear 2020
pll c 50
inv c 0
optm c 0.9616
bdi up c 1500
con1c wAB1:tin c -1
#
*
ELNUwesSArBOr q
minp e-H-SAr 1
moutp e-B-BOr c 0.88
fyear 2020
pll c 50
inv c 0
optm c 0.9872
bdi up c 1000
con1c wBS1:tin c -1
#
* | 765
ELNU765DRrZAr u
minp e-C-DRr 1
moutp e-K-ZAr c 0.94
fyear 2020
pll c 50
inv c 646.53546798535
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7DZ1:tin c 1
#
*
ELNU765ZArZIr t
minp e-K-ZAr 1
moutp e-L-ZIr c 0.94
fyear 2020
pll c 50
inv c 471.532580662281
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7ZZ1:tin c 1
#
*
ELNU765ZIrNAr n
minp e-L-ZIr 1
moutp e-G-NAr c 0.94
fyear 2020
pll c 50
inv c 235.76629033114
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7ZN1:tin c 1
#
*
ELNU765ZIrSAr k
minp e-L-ZIr 1
moutp e-H-SAr c 0.94
fyear 2020
pll c 50
inv c 235.76629033114
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7ZS1:tin c 1
#
*
ELNU765ZArDRr j
minp e-K-ZAr 1
moutp e-C-DRr c 0.94
fyear 2020
pll c 50
inv c 0
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7DZ1:tin c -1
#
*
ELNU765ZIrZAr l
minp e-L-ZIr 1
moutp e-K-ZAr c 0.94
fyear 2020
pll c 50
inv c 0
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7ZZ1:tin c -1
#
*
ELNU765NArZIr m
minp e-G-NAr 1
moutp e-L-ZIr c 0.94
fyear 2020
pll c 50
inv c 0
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7ZN1:tin c -1
#
*
ELNU765SArZIr n
minp e-H-SAr 1
moutp e-L-ZIr c 0.94
fyear 2020
pll c 51
inv c 0
optm c 0.9918
bdc up c 1500
bdi up c 3000
con1c 7ZS1:tin c -1
#
* |  | Other
ELNUothANrDRr k
minp e-A-ANr 1
moutp e-C-DRr c 0.98
fyear 2016
pll c 50
inv c 167.501232630715
optm c 0.9954
bdc up c 600
bdi up c 600
con1c oAD1:tin c 1
#
*
ELNUothBOrSAr l
minp e-B-BOr 1
moutp e-H-SAr c 0.98
fyear 2012
pll c 50
inv c 104.594499710542
optm c 0.9963
bdc up c 500
bdi up c 500
con1c oBS1:tin c 1
#
*
ELNUothDRrZAr m
minp e-C-DRr 1
moutp e-K-ZAr c 0.99
fyear 2017
pll c 50
inv c 75.2308799147548
optm c 0.9954
bdc up c 500
bdi up c 500
con1c oDZ1:tin c 1
#
*
ELNUothLErSAr m
minp e-D-LEr 1
moutp e-H-SAr c 1
fyear 2015
pll c 50
inv c 53.5832478025319
optm c 1
bdc up c 130
bdi up c 130
con1c oLS1:tin c 1
#
*
ELNUothMArMOrps i
minp e-E-MAr 1
moutp e-F-MOr c 0.98
fyear 2017
pll c 50
inv c 105.237498684173
optm c 0.9954
bdc up c 600
bdi up c 600
con1c oMM1:tin c 1
#
*
ELNUothMArMOrpm j
minp e-E-MAr 1
moutp e-F-MOr c 0.97
fyear 2015
pll c 50
inv c 125.384799857925
optm c 0.996
bdc up c 300
bdi up c 300
con1c oMM2:tin c 1
#
*
ELNUothMArZAr n
minp e-E-MAr 1
moutp e-K-ZAr c 0.96
fyear 2018
pll c 50
inv c 445.812621717065
optm c 1
bdc up c 200
bdi up c 200
con1c oMZ1:tin c 1
#
*
ELNUothMOrSAr n
minp e-F-MOr 1
moutp e-H-SAr c 0.98
fyear 2018
pll c 50
inv c 131.493290107413
optm c 0.994
bdc up c 600
bdi up c 600
con1c oMS1:tin c 1
#
*
ELNUothMOrZIr o
minp e-F-MOr 1
moutp e-L-ZIr c 0.97
fyear 2017
pll c 50
inv c 105.023165692963
optm c 0.9954
bdc up c 500
bdi up c 500
con1c oMZ2:tin c 1
#
*
ELNUothNArSAr o
minp e-G-NAr 1
moutp e-H-SAr c 0.93
fyear 2018
pll c 50
inv c 342.932785936204
optm c 0.9925
bdc up c 300
bdi up c 300
con1c oNS1:tin c 1
#
*
ELNUothSArSWr i
minp e-H-SAr 1
moutp e-I-SWr c 0.99
fyear 2018
pll c 50
inv c 16.71797331439
optm c 0.9991
bdc up c 450
bdi up c 450
con1c oSS1:tin c 1
#
*
ELNUothNArAnr k
minp e-G-NAr 1
moutp e-A-ANr c 0.99
fyear 2016
pll c 51
inv c 257.199589452153
optm c 0.9909
bdc up c 400
bdi up c 400
con1c oNA1:tin c 1
#
*
ELNUothTArZAr o
minp e-J-TAr 1
moutp e-K-ZAr c 0.94
fyear 2016
pll c 50
inv c 218.61965103433
optm c 0.9925
bdc up c 400
bdi up c 400
con1c oTZ1:tin c 1
#
*
ELNUothSArZIr v
minp e-H-SAr 1
moutp e-L-ZIr c 0.94
fyear 2017
pll c 50
inv c 235.76629033114
optm c 0.9918
bdc up c 650
bdi up c 650
con1c oSZ1:tin c 1
#
*
ELNUothDRrANr l
minp e-C-DRr 1
moutp e-A-ANr c 0.98
fyear 2016
pll c 50
inv c 0
optm c 0.9954
bdc up c 600
bdi up c 600
con1c oAD1:tin c -1
#
*
ELNUothSArBOr m
minp e-H-SAr 1
moutp e-B-BOr c 0.98
fyear 2012
pll c 50
inv c 0
optm c 0.9963
bdc up c 500
bdi up c 500
con1c oBS1:tin c -1
#
*
ELNUothZArDRr l
minp e-K-ZAr 1
moutp e-C-DRr c 0.99
fyear 2017
pll c 50
inv c 0
optm c 0.9954
bdc up c 500
bdi up c 500
con1c oDZ1:tin c -1
#
*
ELNUothSArLEr i
minp e-H-SAr 1
moutp e-D-LEr c 1
fyear 2015
pll c 50
inv c 0
optm c 1
bdc up c 130
bdi up c 130
con1c oLS1:tin c -1
#
*
ELNUothMOrMArps i
minp e-F-MOr 1
moutp e-E-MAr c 0.98
fyear 2017
pll c 50
inv c 0
optm c 0.9954
bdc up c 600
bdi up c 600
con1c oMM1:tin c -1
#
*
ELNUothMOrMArpm j
minp e-F-MOr 1
moutp e-E-MAr c 0.97
fyear 2015
pll c 50
inv c 0
optm c 0.996
bdc up c 300
bdi up c 300
con1c oMM2:tin c -1
#
*
ELNUothZArMAr k
minp e-K-ZAr 1
moutp e-E-MAr c 0.96
fyear 2018
pll c 50
inv c 0
optm c 1
bdc up c 200
bdi up c 200
con1c oMZ1:tin c -1
#
*
ELNUothSArMOr k
minp e-H-SAr 1
moutp e-F-MOr c 0.98
fyear 2018
pll c 50
inv c 0
optm c 0.994
bdc up c 600
bdi up c 600
con1c oMS1:tin c -1
#
*
ELNUothZIrMOr l
minp e-L-ZIr 1
moutp e-F-MOr c 0.97
fyear 2017
pll c 50
inv c 0
optm c 0.9954
bdc up c 500
bdi up c 500
con1c oMZ2:tin c -1
#
*
ELNUothSArNAr o
minp e-H-SAr 1
moutp e-G-NAr c 0.93
fyear 2018
pll c 50
inv c 0
optm c 0.9925
bdc up c 300
bdi up c 300
con1c oNS1:tin c -1
#
*
ELNUothSWrSAr p
minp e-I-SWr 1
moutp e-H-SAr c 0.99
fyear 2018
pll c 50
inv c 0
optm c 0.9991
bdc up c 450
bdi up c 450
con1c oSS1:tin c -1
#
*
ELNUothAnrNAr p
minp e-A-ANr 1
moutp e-G-NAr c 0.99
fyear 2016
pll c 51
inv c 0
optm c 0.9909
bdc up c 400
bdi up c 400
con1c oNA1:tin c -1
#
*
ELNUothZArTAr i
minp e-K-ZAr 1
moutp e-J-TAr c 0.94
fyear 2016
pll c 50
inv c 0
optm c 0.9925
bdc up c 400
bdi up c 400
con1c oTZ1:tin c -1
#
*
ELNUothZIrSAr w
minp e-L-ZIr 1
moutp e-H-SAr c 0.94
fyear 2017
pll c 50
inv c 0
optm c 0.9918
bdc up c 650
bdi up c 650
con1c oSZ1:tin c -1
#

## DistTables
Capacity (MW) |  | Exports
|  | ANr | BOT | DRr | LST | MAr | MOr | NAr | SAr | SWr | TAr | ZAr | ZIr
Imports | ANr
| BOT | Exports NAr: 850; Exports ZIr: 650
DRr
LST
MAr
MOr
NAr
SAr
SWr
TAr
ZAr
ZIr
Max Cap |  | Exports ANr: Exports
|  | ANr | BOT | DRr | LST | MAr | MOr | NAr | SAr | SWr | TAr | ZAr | ZIr
Imports | ANr
| BOT | Exports NAr: 850; Exports ZIr: 650
DRr
LST
MAr
MOr
NAr
SAr
SWr
TAr
ZAr
ZIr
Losses (%) |  | Exports ANr: Exports
|  | ANr | BOT | DRr | LST | MAr | MOr | NAr | SAr | SWr | TAr | ZAr | ZIr
Imports | ANr
| BOT | Exports NAr: 850; Exports ZIr: 650
DRr
LST
MAr
MOr
NAr
SAr
SWr
TAr
ZAr
ZIr

## energyforms
|  |  | level | code | Country | Country code | Multi-reg code | Multi-reg id
ANr | Electricity/Secondary/ANr | e | A | e-A-ANr | Angola | ANG | ANr | a
BOr | Electricity/Secondary/BOr | e | B | e-B-BOr | Botswana | BOT | BOr | b
DRr | Electricity/Secondary/DRr | e | C | e-C-DRr | DRC | DRC | DRr | c
LEr | Electricity/Secondary/LEr | e | D | e-D-LEr | Lesotho | LES | LEr | d
MAr | Electricity/Secondary/MAr | e | E | e-E-MAr | Malawi | MAL | MAr | e
MOr | Electricity/Secondary/MOr | e | F | e-F-MOr | Mozambique | MOZ | MOr | f
NAr | Electricity/Secondary/NAr | e | G | e-G-NAr | Namibia | NAM | NAr | g
SAr | Electricity/Secondary/SAr | e | H | e-H-SAr | South Africa | SAF | SAr | h
SWr | Electricity/Secondary/SWr | e | I | e-I-SWr | Swaziland | SWA | SWr | i
TAr | Electricity/Secondary/TAr | e | J | e-J-TAr | Tanzania | TAN | TAr | j
ZAr | Electricity/Secondary/ZAr | e | K | e-K-ZAr | Zambia | ZAM | ZAr | k
ZIr | Electricity/Secondary/ZIr | e | L | e-L-ZIr | Zimbabwe | ZIM | ZIr | l

## OutputTables
| Output | Input | Capacity | Investment Cost
| Existing | Existing | Existing
ELEXBOrSAr | ELEXBOrSArOut = Heae:out | ELEXBOrSArInp = Heae:inp | ELEXBOrSArCap = Heae:tic | ELEXBOrSArInv = Heae:inv*Heae:yact/1000
ELEXBOrZIr | ELEXBOrZIrOut = Leae:out | ELEXBOrZIrInp = Leae:inp | ELEXBOrZIrCap = Leae:tic | ELEXBOrZIrInv = Leae:inv*Leae:yact/1000
ELEXLErSAr | ELEXLErSArOut = Hebe:out | ELEXLErSArInp = Hebe:inp | ELEXLErSArCap = Hebe:tic | ELEXLErSArInv = Hebe:inv*Hebe:yact/1000
ELEXDRrZAr | ELEXDRrZArOut = Keae:out | ELEXDRrZArInp = Keae:inp | ELEXDRrZArCap = Keae:tic | ELEXDRrZArInv = Keae:inv*Keae:yact/1000
ELEXMOrSAr | ELEXMOrSArOut = Hece:out | ELEXMOrSArInp = Hece:inp | ELEXMOrSArCap = Hece:tic | ELEXMOrSArInv = Hece:inv*Hece:yact/1000
ELEXMOrSWr | ELEXMOrSWrOut = Ieae:out | ELEXMOrSWrInp = Ieae:inp | ELEXMOrSWrCap = Ieae:tic | ELEXMOrSWrInv = Ieae:inv*Ieae:yact/1000
ELEXMOrZIr | ELEXMOrZIrOut = Lebe:out | ELEXMOrZIrInp = Lebe:inp | ELEXMOrZIrCap = Lebe:tic | ELEXMOrZIrInv = Lebe:inv*Lebe:yact/1000
ELEXNArSAr | ELEXNArSArOut = Hede:out | ELEXNArSArInp = Hede:inp | ELEXNArSArCap = Hede:tic | ELEXNArSArInv = Hede:inv*Hede:yact/1000
ELEXSArSWr | ELEXSArSWrOut = Iebe:out | ELEXSArSWrInp = Iebe:inp | ELEXSArSWrCap = Iebe:tic | ELEXSArSWrInv = Iebe:inv*Iebe:yact/1000
ELEXSArZIr | ELEXSArZIrOut = Lece:out | ELEXSArZIrInp = Lece:inp | ELEXSArZIrCap = Lece:tic | ELEXSArZIrInv = Lece:inv*Lece:yact/1000
ELEXZArZIr | ELEXZArZIrOut = Lede:out | ELEXZArZIrInp = Lede:inp | ELEXZArZIrCap = Lede:tic | ELEXZArZIrInv = Lede:inv*Lede:yact/1000
ELEXSArBOr | ELEXSArBOrOut = Beae:out | ELEXSArBOrInp = Beae:inp | ELEXSArBOrCap = Beae:tic | ELEXSArBOrInv = Beae:inv*Beae:yact/1000
ELEXZIrBOr | ELEXZIrBOrOut = Bebe:out | ELEXZIrBOrInp = Bebe:inp | ELEXZIrBOrCap = Bebe:tic | ELEXZIrBOrInv = Bebe:inv*Bebe:yact/1000
ELEXSArLEr | ELEXSArLErOut = Deae:out | ELEXSArLErInp = Deae:inp | ELEXSArLErCap = Deae:tic | ELEXSArLErInv = Deae:inv*Deae:yact/1000
ELEXZArDRr | ELEXZArDRrOut = Ceae:out | ELEXZArDRrInp = Ceae:inp | ELEXZArDRrCap = Ceae:tic | ELEXZArDRrInv = Ceae:inv*Ceae:yact/1000
ELEXSArMOr | ELEXSArMOrOut = Feae:out | ELEXSArMOrInp = Feae:inp | ELEXSArMOrCap = Feae:tic | ELEXSArMOrInv = Feae:inv*Feae:yact/1000
ELEXSWrMOr | ELEXSWrMOrOut = Febe:out | ELEXSWrMOrInp = Febe:inp | ELEXSWrMOrCap = Febe:tic | ELEXSWrMOrInv = Febe:inv*Febe:yact/1000
ELEXZIrMOr | ELEXZIrMOrOut = Fece:out | ELEXZIrMOrInp = Fece:inp | ELEXZIrMOrCap = Fece:tic | ELEXZIrMOrInv = Fece:inv*Fece:yact/1000
ELEXSArNAr | ELEXSArNArOut = Geae:out | ELEXSArNArInp = Geae:inp | ELEXSArNArCap = Geae:tic | ELEXSArNArInv = Geae:inv*Geae:yact/1000
ELEXSWrSAr | ELEXSWrSArOut = Heee:out | ELEXSWrSArInp = Heee:inp | ELEXSWrSArCap = Heee:tic | ELEXSWrSArInv = Heee:inv*Heee:yact/1000
ELEXZIrSAr | ELEXZIrSArOut = Hefe:out | ELEXZIrSArInp = Hefe:inp | ELEXZIrSArCap = Hefe:tic | ELEXZIrSArInv = Hefe:inv*Hefe:yact/1000
ELEXZIrZAr | ELEXZIrZArOut = Kege:out | ELEXZIrZArInp = Kege:inp | ELEXZIrZArCap = Kege:tic | ELEXZIrZArInv = Kege:inv*Kege:yact/1000
| Output | Input | Capacity |  | New Capacity
| New | New | New
ELNCzizBOrZIr | ELNCzizBOrZIrOut = Leie:out | ELNCzizBOrZIrInp = Leie:inp | ELNCzizBOrZIrCap = Leie:tic | ELNCzizBOrZIrCap = Leie:inv*Leie:yact/1000 | ELNCzizBOrZIrNCp = Leie:yact
ELNCzizNArBOr | ELNCzizNArBOrOut = Beie:out | ELNCzizNArBOrInp = Beie:inp | ELNCzizNArBOrCap = Beie:tic | ELNCzizNArBOrCap = Beie:inv*Beie:yact/1000 | ELNCzizNArBOrNCp = Beie:yact
ELNCzizNArZIr | ELNCzizNArZIrOut = Leje:out | ELNCzizNArZIrInp = Leje:inp | ELNCzizNArZIrCap = Leje:tic | ELNCzizNArZIrCap = Leje:inv*Leje:yact/1000 | ELNCzizNArZIrNCp = Leje:yact
ELNCzizNArZAr | ELNCzizNArZArOut = Keie:out | ELNCzizNArZArInp = Keie:inp | ELNCzizNArZArCap = Keie:tic | ELNCzizNArZArCap = Keie:inv*Keie:yact/1000 | ELNCzizNArZArNCp = Keie:yact
ELNCzizZArZIr | ELNCzizZArZIrOut = Leke:out | ELNCzizZArZIrInp = Leke:inp | ELNCzizZArZIrCap = Leke:tic | ELNCzizZArZIrCap = Leke:inv*Leke:yact/1000 | ELNCzizZArZIrNCp = Leke:yact
ELNCzizZIrBOr | ELNCzizZIrBOrOut = Beje:out | ELNCzizZIrBOrInp = Beje:inp | ELNCzizZIrBOrCap = Beje:tic | ELNCzizZIrBOrCap = Beje:inv*Beje:yact/1000 | ELNCzizZIrBOrNCp = Beje:yact
ELNCzizBOrNAr | ELNCzizBOrNArOut = Geie:out | ELNCzizBOrNArInp = Geie:inp | ELNCzizBOrNArCap = Geie:tic | ELNCzizBOrNArCap = Geie:inv*Geie:yact/1000 | ELNCzizBOrNArNCp = Geie:yact
ELNCzizZIrNAr | ELNCzizZIrNArOut = Geje:out | ELNCzizZIrNArInp = Geje:inp | ELNCzizZIrNArCap = Geje:tic | ELNCzizZIrNArCap = Geje:inv*Geje:yact/1000 | ELNCzizZIrNArNCp = Geje:yact
ELNCzizZArNAr | ELNCzizZArNArOut = Geke:out | ELNCzizZArNArInp = Geke:inp | ELNCzizZArNArCap = Geke:tic | ELNCzizZArNArCap = Geke:inv*Geke:yact/1000 | ELNCzizZArNArNCp = Geke:yact
ELNCzizZIrZAr | ELNCzizZIrZArOut = Keje:out | ELNCzizZIrZArInp = Keje:inp | ELNCzizZIrZArCap = Keje:tic | ELNCzizZIrZArCap = Keje:inv*Keje:yact/1000 | ELNCzizZIrZArNCp = Keje:yact
ELNUwesDRrNAr | ELNUwesDRrNArOut = Gele:out | ELNUwesDRrNArInp = Gele:inp | ELNUwesDRrNArCap = Gele:tic | ELNUwesDRrNArCap = Gele:inv*Gele:yact/1000 | ELNUwesDRrNArNCp = Gele:yact
ELNUwesNArSAr | ELNUwesNArSArOut = Heie:out | ELNUwesNArSArInp = Heie:inp | ELNUwesNArSArCap = Heie:tic | ELNUwesNArSArCap = Heie:inv*Heie:yact/1000 | ELNUwesNArSArNCp = Heie:yact
ELNUwesDRrANr | ELNUwesDRrANrOut = Aeie:out | ELNUwesDRrANrInp = Aeie:inp | ELNUwesDRrANrCap = Aeie:tic | ELNUwesDRrANrCap = Aeie:inv*Aeie:yact/1000 | ELNUwesDRrANrNCp = Aeie:yact
ELNUwesANrBOr | ELNUwesANrBOrOut = Beke:out | ELNUwesANrBOrInp = Beke:inp | ELNUwesANrBOrCap = Beke:tic | ELNUwesANrBOrCap = Beke:inv*Beke:yact/1000 | ELNUwesANrBOrNCp = Beke:yact
ELNUwesBOrSAr | ELNUwesBOrSArOut = Heje:out | ELNUwesBOrSArInp = Heje:inp | ELNUwesBOrSArCap = Heje:tic | ELNUwesBOrSArCap = Heje:inv*Heje:yact/1000 | ELNUwesBOrSArNCp = Heje:yact
ELNUwesNArDRr | ELNUwesNArDRrOut = Ceie:out | ELNUwesNArDRrInp = Ceie:inp | ELNUwesNArDRrCap = Ceie:tic | ELNUwesNArDRrCap = Ceie:inv*Ceie:yact/1000 | ELNUwesNArDRrNCp = Ceie:yact
ELNUwesSArNAr | ELNUwesSArNArOut = Geme:out | ELNUwesSArNArInp = Geme:inp | ELNUwesSArNArCap = Geme:tic | ELNUwesSArNArCap = Geme:inv*Geme:yact/1000 | ELNUwesSArNArNCp = Geme:yact
ELNUwesANrDRr | ELNUwesANrDRrOut = Cepe:out | ELNUwesANrDRrInp = Cepe:inp | ELNUwesANrDRrCap = Cepe:tic | ELNUwesANrDRrCap = Cepe:inv*Cepe:yact/1000 | ELNUwesANrDRrNCp = Cepe:yact
ELNUwesBOrANr | ELNUwesBOrANrOut = Aere:out | ELNUwesBOrANrInp = Aere:inp | ELNUwesBOrANrCap = Aere:tic | ELNUwesBOrANrCap = Aere:inv*Aere:yact/1000 | ELNUwesBOrANrNCp = Aere:yact
ELNUwesSArBOr | ELNUwesSArBOrOut = Beqe:out | ELNUwesSArBOrInp = Beqe:inp | ELNUwesSArBOrCap = Beqe:tic | ELNUwesSArBOrCap = Beqe:inv*Beqe:yact/1000 | ELNUwesSArBOrNCp = Beqe:yact
ELNU765DRrZAr | ELNU765DRrZArOut = Keue:out | ELNU765DRrZArInp = Keue:inp | ELNU765DRrZArCap = Keue:tic | ELNU765DRrZArCap = Keue:inv*Keue:yact/1000 | ELNU765DRrZArNCp = Keue:yact
ELNU765ZArZIr | ELNU765ZArZIrOut = Lete:out | ELNU765ZArZIrInp = Lete:inp | ELNU765ZArZIrCap = Lete:tic | ELNU765ZArZIrCap = Lete:inv*Lete:yact/1000 | ELNU765ZArZIrNCp = Lete:yact
ELNU765ZIrNAr | ELNU765ZIrNArOut = Gene:out | ELNU765ZIrNArInp = Gene:inp | ELNU765ZIrNArCap = Gene:tic | ELNU765ZIrNArCap = Gene:inv*Gene:yact/1000 | ELNU765ZIrNArNCp = Gene:yact
ELNU765ZIrSAr | ELNU765ZIrSArOut = Heke:out | ELNU765ZIrSArInp = Heke:inp | ELNU765ZIrSArCap = Heke:tic | ELNU765ZIrSArCap = Heke:inv*Heke:yact/1000 | ELNU765ZIrSArNCp = Heke:yact
ELNU765ZArDRr | ELNU765ZArDRrOut = Ceje:out | ELNU765ZArDRrInp = Ceje:inp | ELNU765ZArDRrCap = Ceje:tic | ELNU765ZArDRrCap = Ceje:inv*Ceje:yact/1000 | ELNU765ZArDRrNCp = Ceje:yact
ELNU765ZIrZAr | ELNU765ZIrZArOut = Kele:out | ELNU765ZIrZArInp = Kele:inp | ELNU765ZIrZArCap = Kele:tic | ELNU765ZIrZArCap = Kele:inv*Kele:yact/1000 | ELNU765ZIrZArNCp = Kele:yact
ELNU765NArZIr | ELNU765NArZIrOut = Leme:out | ELNU765NArZIrInp = Leme:inp | ELNU765NArZIrCap = Leme:tic | ELNU765NArZIrCap = Leme:inv*Leme:yact/1000 | ELNU765NArZIrNCp = Leme:yact
ELNU765SArZIr | ELNU765SArZIrOut = Lene:out | ELNU765SArZIrInp = Lene:inp | ELNU765SArZIrCap = Lene:tic | ELNU765SArZIrCap = Lene:inv*Lene:yact/1000 | ELNU765SArZIrNCp = Lene:yact
ELNUothANrDRr | ELNUothANrDRrOut = Ceke:out | ELNUothANrDRrInp = Ceke:inp | ELNUothANrDRrCap = Ceke:tic | ELNUothANrDRrCap = Ceke:inv*Ceke:yact/1000 | ELNUothANrDRrNCp = Ceke:yact
ELNUothBOrSAr | ELNUothBOrSArOut = Hele:out | ELNUothBOrSArInp = Hele:inp | ELNUothBOrSArCap = Hele:tic | ELNUothBOrSArCap = Hele:inv*Hele:yact/1000 | ELNUothBOrSArNCp = Hele:yact
ELNUothDRrZAr | ELNUothDRrZArOut = Keme:out | ELNUothDRrZArInp = Keme:inp | ELNUothDRrZArCap = Keme:tic | ELNUothDRrZArCap = Keme:inv*Keme:yact/1000 | ELNUothDRrZArNCp = Keme:yact
ELNUothLErSAr | ELNUothLErSArOut = Heme:out | ELNUothLErSArInp = Heme:inp | ELNUothLErSArCap = Heme:tic | ELNUothLErSArCap = Heme:inv*Heme:yact/1000 | ELNUothLErSArNCp = Heme:yact
ELNUothMArMOrps | ELNUothMArMOrpsOut = Feie:out | ELNUothMArMOrpsInp = Feie:inp | ELNUothMArMOrpsCap = Feie:tic | ELNUothMArMOrpsCap = Feie:inv*Feie:yact/1000 | ELNUothMArMOrpsNCp = Feie:yact
ELNUothMArMOrpm | ELNUothMArMOrpmOut = Feje:out | ELNUothMArMOrpmInp = Feje:inp | ELNUothMArMOrpmCap = Feje:tic | ELNUothMArMOrpmCap = Feje:inv*Feje:yact/1000 | ELNUothMArMOrpmNCp = Feje:yact
ELNUothMArZAr | ELNUothMArZArOut = Kene:out | ELNUothMArZArInp = Kene:inp | ELNUothMArZArCap = Kene:tic | ELNUothMArZArCap = Kene:inv*Kene:yact/1000 | ELNUothMArZArNCp = Kene:yact
ELNUothMOrSAr | ELNUothMOrSArOut = Hene:out | ELNUothMOrSArInp = Hene:inp | ELNUothMOrSArCap = Hene:tic | ELNUothMOrSArCap = Hene:inv*Hene:yact/1000 | ELNUothMOrSArNCp = Hene:yact
ELNUothMOrZIr | ELNUothMOrZIrOut = Leoe:out | ELNUothMOrZIrInp = Leoe:inp | ELNUothMOrZIrCap = Leoe:tic | ELNUothMOrZIrCap = Leoe:inv*Leoe:yact/1000 | ELNUothMOrZIrNCp = Leoe:yact
ELNUothNArSAr | ELNUothNArSArOut = Heoe:out | ELNUothNArSArInp = Heoe:inp | ELNUothNArSArCap = Heoe:tic | ELNUothNArSArCap = Heoe:inv*Heoe:yact/1000 | ELNUothNArSArNCp = Heoe:yact
ELNUothSArSWr | ELNUothSArSWrOut = Ieie:out | ELNUothSArSWrInp = Ieie:inp | ELNUothSArSWrCap = Ieie:tic | ELNUothSArSWrCap = Ieie:inv*Ieie:yact/1000 | ELNUothSArSWrNCp = Ieie:yact
ELNUothNArAnr | ELNUothNArAnrOut = Aeke:out | ELNUothNArAnrInp = Aeke:inp | ELNUothNArAnrCap = Aeke:tic | ELNUothNArAnrCap = Aeke:inv*Aeke:yact/1000 | ELNUothNArAnrNCp = Aeke:yact
ELNUothTArZAr | ELNUothTArZArOut = Keoe:out | ELNUothTArZArInp = Keoe:inp | ELNUothTArZArCap = Keoe:tic | ELNUothTArZArCap = Keoe:inv*Keoe:yact/1000 | ELNUothTArZArNCp = Keoe:yact
ELNUothSArZIr | ELNUothSArZIrOut = Leve:out | ELNUothSArZIrInp = Leve:inp | ELNUothSArZIrCap = Leve:tic | ELNUothSArZIrCap = Leve:inv*Leve:yact/1000 | ELNUothSArZIrNCp = Leve:yact
ELNUothDRrANr | ELNUothDRrANrOut = Aele:out | ELNUothDRrANrInp = Aele:inp | ELNUothDRrANrCap = Aele:tic | ELNUothDRrANrCap = Aele:inv*Aele:yact/1000 | ELNUothDRrANrNCp = Aele:yact
ELNUothSArBOr | ELNUothSArBOrOut = Beme:out | ELNUothSArBOrInp = Beme:inp | ELNUothSArBOrCap = Beme:tic | ELNUothSArBOrCap = Beme:inv*Beme:yact/1000 | ELNUothSArBOrNCp = Beme:yact
ELNUothZArDRr | ELNUothZArDRrOut = Cele:out | ELNUothZArDRrInp = Cele:inp | ELNUothZArDRrCap = Cele:tic | ELNUothZArDRrCap = Cele:inv*Cele:yact/1000 | ELNUothZArDRrNCp = Cele:yact
ELNUothSArLEr | ELNUothSArLErOut = Deie:out | ELNUothSArLErInp = Deie:inp | ELNUothSArLErCap = Deie:tic | ELNUothSArLErCap = Deie:inv*Deie:yact/1000 | ELNUothSArLErNCp = Deie:yact
ELNUothMOrMArps | ELNUothMOrMArpsOut = Eeie:out | ELNUothMOrMArpsInp = Eeie:inp | ELNUothMOrMArpsCap = Eeie:tic | ELNUothMOrMArpsCap = Eeie:inv*Eeie:yact/1000 | ELNUothMOrMArpsNCp = Eeie:yact
ELNUothMOrMArpm | ELNUothMOrMArpmOut = Eeje:out | ELNUothMOrMArpmInp = Eeje:inp | ELNUothMOrMArpmCap = Eeje:tic | ELNUothMOrMArpmCap = Eeje:inv*Eeje:yact/1000 | ELNUothMOrMArpmNCp = Eeje:yact
ELNUothZArMAr | ELNUothZArMArOut = Eeke:out | ELNUothZArMArInp = Eeke:inp | ELNUothZArMArCap = Eeke:tic | ELNUothZArMArCap = Eeke:inv*Eeke:yact/1000 | ELNUothZArMArNCp = Eeke:yact
ELNUothSArMOr | ELNUothSArMOrOut = Feke:out | ELNUothSArMOrInp = Feke:inp | ELNUothSArMOrCap = Feke:tic | ELNUothSArMOrCap = Feke:inv*Feke:yact/1000 | ELNUothSArMOrNCp = Feke:yact
ELNUothZIrMOr | ELNUothZIrMOrOut = Fele:out | ELNUothZIrMOrInp = Fele:inp | ELNUothZIrMOrCap = Fele:tic | ELNUothZIrMOrCap = Fele:inv*Fele:yact/1000 | ELNUothZIrMOrNCp = Fele:yact
ELNUothSArNAr | ELNUothSArNArOut = Geoe:out | ELNUothSArNArInp = Geoe:inp | ELNUothSArNArCap = Geoe:tic | ELNUothSArNArCap = Geoe:inv*Geoe:yact/1000 | ELNUothSArNArNCp = Geoe:yact
ELNUothSWrSAr | ELNUothSWrSArOut = Hepe:out | ELNUothSWrSArInp = Hepe:inp | ELNUothSWrSArCap = Hepe:tic | ELNUothSWrSArCap = Hepe:inv*Hepe:yact/1000 | ELNUothSWrSArNCp = Hepe:yact
ELNUothAnrNAr | ELNUothAnrNArOut = Gepe:out | ELNUothAnrNArInp = Gepe:inp | ELNUothAnrNArCap = Gepe:tic | ELNUothAnrNArCap = Gepe:inv*Gepe:yact/1000 | ELNUothAnrNArNCp = Gepe:yact
ELNUothZArTAr | ELNUothZArTArOut = Jeie:out | ELNUothZArTArInp = Jeie:inp | ELNUothZArTArCap = Jeie:tic | ELNUothZArTArCap = Jeie:inv*Jeie:yact/1000 | ELNUothZArTArNCp = Jeie:yact
ELNUothZIrSAr | ELNUothZIrSArOut = Hewe:out | ELNUothZIrSArInp = Hewe:inp | ELNUothZIrSArCap = Hewe:tic | ELNUothZIrSArCap = Hewe:inv*Hewe:yact/1000 | ELNUothZIrSArNCp = Hewe:yact

## LOG
1 | Created generic template | General, Load Regions, Energy forms, Primary imports, Transmission and Distribution, Backstop, dummy demand
2 | Run to test - BS techs meet demand
3 | Backup
4 | Restore to country e.g. Angola: ANG
5 | Specify country specific demand
Specify country specific load curve
Run to test
Specify country specific import prices and limits
Specify country specific technologies (exist, site spec, generic)
Run to test
Create/load standard tables for output
View output
Adjust reference case
Implement scenario
run to test
view output
compare to ref
Multi-region model
start with 3 countries
copy countries renaming to 3-letter country name a,b,c
| remove imports and exports of single country models |  | MAIN_1.zip as example
run to test (5 years)
Put in transmission techs
run to test (5 years)
run to test (all years)
Analyse results