**IRENA LEVEL 3 MODIFICATION WORKS**

**masdar head quarters**

Masdar City

Abu Dhabi,

UAE

*[Revision 00; 7thFebruary 2021]*

*Copyright:* **Document History**

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Date** | **Status** | **Review/Approval** |
| 00 | 7.02.2021 | Issued for information |  |

**Table of Contents**

[1. introduction](#_Toc421535572)

[2. mep modification works](#_Toc421535573)

[2.1 Mechanical Modification](#_Toc421535574)

[2.2 Electrical Modification](#_Toc421535575)

[2.3 Decor Renovation](#_Toc421535576)

[APPENDIX A: DRAWING REFERENCES](#_Toc421535577)

# introduction

The intent of this report is to clearly define the modification works for the Mechanical, Electrical , IT& Decor associated with Level 3Irena (Block A) - MASDAR Head Quarters building located at Plot Fa-08a located with MASDAR City.

The modification works for Irena (level 3) comprises of the following areas;

**Part-1: NEW MANAGER OFFICE 1**

**Part-2: NEW MANAGER OFFICE 2 & 3**

**Part-3: CORRIDOR**

# mep modification works

## Mechanical Modification

|  |
| --- |
| **HVAC** |
| **Modification’s Brief: Existing duct modification with new grills, VCD, flexible, suite new partition layout.**   * 3 Manager office & corridor duct modification with new AC grills **(Ref MHQ- HVAC-03)** |

|  |
| --- |
| **PLUMBING (Water & Drainage)** |
| **Modification’s Brief: No Modification Existing Plumbing system related to HVAC modification** |

## Electrical Modification

|  |
| --- |
| **CCTV & ACCESS CONTROL SYSTEM** |
| **No changes** |

|  |
| --- |
| **EMERGENCY & EXIT LIGHTING** |
| **Modification’s Brief:** |

|  |
| --- |
| **ELECTRIC LIGHTING** |
| **Modification’s Brief:**  **Part -1 Changes: Manager office 1 light modification (Ref MHQ- EL-03)**  **Part-2 Changes: Corridor area light modification (Ref MHQ- EL-03)**  **Part-3 Changes: Manager office 2 & 3 light modification (Ref MHQ- EL-03)** |

|  |
| --- |
| **TELECOMMUNICATION** |
| **Modification’s Brief: Data point relocations as per the furniture changes (Ref MHQ- SCS-03)** |

|  |
| --- |
| **ELECTRIC POWER (HIGH LEVEL)** |
| **Modification’s Brief: No Changes** |

|  |
| --- |
| **ELECTRICAL POWER (LOW LEVEL)** |
| **Modification’s Brief: Relocation of floor boxes, grommet, new power sockets (Ref MHQ-EP-03)** |